ARCHITECTURAL AND ENGINEERING SPECIFICATION

# Industrial Power Solution

Basis of Design: KBC Networks MSS

| Product family: Industrial power, UPS, solar or remote-site equipment | Document status: Tender / design specification |
| --- | --- |
| Source data: MSS_Series-Specification_Sheet-2303.pdf | Prepared: 4 August 2026 |

# PART 1 - GENERAL

## 1.1 SUMMARY

Provide, install, configure where applicable, test and commission the industrial power solution described in this specification, including the required interfaces, power connections, mounting hardware and compatible accessories.

## 1.2 BASIS OF DESIGN

Basis-of-design manufacturer and product: KBC Networks MSS. Source description: Mobile Surveillance System.

Equivalent products may be considered only when they meet or exceed every stated interface, performance, power, environmental and mounting requirement without changing the intended system design.

## 1.3 SUBMITTALS

Manufacturer technical data sheet identifying the exact model and selected hardware variant.

Interface or connection schedule identifying the electrical, optical, wireless, power and network connections.

Power calculation confirming input-supply compatibility and the total connected load where applicable.

Mounting, environmental and configuration details applicable to the proposed installation.

## 1.4 QUALITY ASSURANCE

Installation shall be performed by personnel familiar with industrial DC power systems, load calculations, battery or solar sizing, protective devices, environmental enclosures and applicable electrical practices. Verify all product capability from the current manufacturer data sheet and selected part number.

# PART 2 - PRODUCTS

## 2.1 REQUIRED PRODUCT

The equipment shall be KBC Networks MSS, or an approved equivalent meeting all requirements below. It shall be supplied as mobile surveillance system.

## 2.2 PRODUCT DESCRIPTION

Mobile Surveillance Systems (MSS) are self-contained solutions for monitoring locations that lack infrastructure, require time-sensitive deployment, are temporary or a combination of these factors. They are compact, rugged, and easy to operate. MSS units consist of a base unit with on-board solar panel(s), charge controller and batteries (purchased separately) along with power and network connections for all connected devices. A removable quick-connect pod provides a mounting platform for cameras, wireless, radar or other systems.

MSS units are a force multiplier for management, security, medical, law enforcement or event personnel by providing the ability to monitor an area more efficiently and effectively. The systems are most effective when used in groups as they are easily linked together in perimeter, star and linear configurations. Due to their physical size and maneuverability MSS units provide a platform that can be deployed in smaller places quickly and be less conspicuous than other solutions that

MSS-KT-300-15 to operate in a variety of weather environments and include multiple security features.

## 2.3 KEY FEATURES

Compact self-contained unit – maneuverable and easy to deploy

Industrial – vandal resistant – low maintenance

Remote, mobile, cost-effective

Unique gas shock assisted mast lift assembly – elevation up to 15 feet

Removable quick-connect interchangeable pods

Adjustable solar panel – gas shock assisted lift deployable at multiple angles

MPPT Charge controller

Space for up to 3 x 110Ah batteries in base (purchase separately)

Optional configurations and accessories are available

## 2.4 SOURCE-VERIFIED TECHNICAL REQUIREMENTS

| Requirement | Specified performance |
| --- | --- |
| Mechanical | MSS-KT-300-15 |
| Stowed | 32” x 41“ x 65” |
| Deployed | 63“ x 68” x 180“ |
| Shipping Weight | 200 lbs. (batteries not included) |
| Construction | Steel Chassis |
| Mast | Swing-Arm Gas Spring Assist - Alum |
| Steel Chassis - inum | Swing-Arm Gas Spring Assist - Aluminum 10” Pneumatic Tire/Steel Hub (4x) 300 lb. Capacity Each 4 Adjustable Outriggers & Levelers Removable - Aluminum Adjustable with Pin Lock 1 – 80 lb. & 1 - 60 lb. Gas Spring 2 – 120 lb. Gas Springs |
| Wheels | 10” Pneumatic Tire/Steel Hub (4x) 300 lb. Capacity Each |
| Supports | 4 Adjustable Outriggers & Levelers |
| Electronics Tray | Removable - Aluminum |
| Solar Mount | Adjustable with Pin Lock |
| Mast Lift Mechanism | 1 – 80 lb. & 1 - 60 lb. Gas Spring |
| Solar Lift Mechanism | 2 – 60 lb. Gas Springs |
| Quick-Connect Pod | Aluminum w/ 12VDC & RJ45 Connector |
| Steel Chassis - s | Aluminum w/ 24VDC & RJ45 Connectors Powder Coat 2x Key Lock Removable Wheels Key Lock Latches Key Lock Latch 24VDC System 4x - 100Ah (1) 3x - 200W Cat6e & 14 GWA 2-wire Internal to Mast & Base MPPT 100/20 - Bluetooth Capable Standard & Key Lock Cat6e/18 GWA 2-wire |
| Finish | Powder Coat |
| Security Features - Base | 2x Key Lock Removable Wheels |
| Security Features - Mast | Key Lock Latches |
| Security Features - Quick-Connect Pod | Key Lock Latch |
| Power - Electrical | 12VDC System |
| Power - Batteries | 3x - 100Ah (1) |
| Power - Solar Panels | 3x - 100W |
| Power - Wiring | Cat6e & 14 GWA 2-wire Internal to Mast & Base |
| Power - Charge Controller | MPPT 100/20 - Bluetooth Capable |
| Quick-Connect Pod - Latches | Standard & Key Lock |
| Quick-Connect Pod - Wiring | Cat6e/18 GWA 2-wire |
| Quick-Connect Pod - Weatherproofing | Square Rubber “O” Ring, Rubber Gas |
| Steel Chassis - kets | Square Rubber “O” Ring, Rubber Gaskets |

The installer shall verify the selected part number, accessories and all project-specific operating limits against the current manufacturer data sheet before procurement and installation.

## 2.5 SOURCE VERIFICATION NOTE

The requirements in this document have been prepared from MSS_Series-Specification_Sheet-2303.pdf. Any configurable channel count, optical module, antenna, power supply, plug, mounting option, battery, solar array, accessory or regional variant shall be selected and confirmed separately where the source sheet presents multiple possibilities.

# PART 3 - EXECUTION

## 3.1 EXAMINATION

Confirm that the proposed equipment and selected variant match the approved design, required interfaces and intended operating environment.

Confirm that all input-power, cable, fiber, antenna, network and mounting conditions are within the manufacturer limits.

Confirm that all required accessories, transceivers, power supplies, batteries, antennas, mounting components and interconnection items are available and compatible.

Do not begin installation until conflicts between the design, site conditions and manufacturer requirements have been resolved.

## 3.2 INSTALLATION

Confirm the continuous and peak load, input source, output voltage, required autonomy and environmental conditions.

Verify battery, solar-array, charger, controller, inverter or DC distribution compatibility where applicable.

Provide protective earthing, overcurrent protection, isolation, cable sizing and weatherproof entry arrangements.

Install all equipment, enclosures and mounting assemblies in accordance with manufacturer instructions and approved drawings.

## 3.3 CONFIGURATION AND COMMISSIONING

Verify input, charging, output-voltage and load performance under normal operating conditions.

Verify battery autonomy, solar charging or UPS transfer operation where applicable.

Demonstrate alarm, recovery and protection functions supported by the selected system.

Provide final power calculations, settings, test results and installed model/serial information.