ARCHITECTURAL AND ENGINEERING SPECIFICATION

# Industrial Power Solution

Basis of Design: KBC Networks PWB

| Product family: Industrial power, UPS, solar or remote-site equipment | Document status: Tender / design specification |
| --- | --- |
| Source data: Specsheet-PWB_Series-Rev2511.pdf | Prepared: 4 August 2026 |

# PART 1 - GENERAL

## 1.1 SUMMARY

Provide, install, configure where applicable, test and commission the industrial power solution described in this specification, including the required interfaces, power connections, mounting hardware and compatible accessories.

## 1.2 BASIS OF DESIGN

Basis-of-design manufacturer and product: KBC Networks PWB. Source description: PowerBox (PWB) Enclosures.

Equivalent products may be considered only when they meet or exceed every stated interface, performance, power, environmental and mounting requirement without changing the intended system design.

## 1.3 SUBMITTALS

Manufacturer technical data sheet identifying the exact model and selected hardware variant.

Interface or connection schedule identifying the electrical, optical, wireless, power and network connections.

Power calculation confirming input-supply compatibility and the total connected load where applicable.

Mounting, environmental and configuration details applicable to the proposed installation.

## 1.4 QUALITY ASSURANCE

Installation shall be performed by personnel familiar with industrial DC power systems, load calculations, battery or solar sizing, protective devices, environmental enclosures and applicable electrical practices. Verify all product capability from the current manufacturer data sheet and selected part number.

# PART 2 - PRODUCTS

## 2.1 REQUIRED PRODUCT

The equipment shall be KBC Networks PWB, or an approved equivalent meeting all requirements below. It shall be supplied as powerbox (pwb) enclosures.

## 2.2 PRODUCT DESCRIPTION

If your company is installing remote exterior security devices such as IP cameras, intercoms, or access control panels on poles, the enclosures, power supplies and hardened switches are likely sourced from various vendors. The PWB series PoE kits are designed as “one source” all-in-one solutions, as easy add-on sales for deployment. The PWB series is ideal for remote camera applications requiring wireless point-to-point or multipoint bridge kits that power via PoE. Some variations also feature SFP ports for fiber connections. The PWB kits convert high voltage (100Vac - 240Vac) constant power to low voltage PoE power and are designed to make installation straightforward. If battery backup is preferred, please contact KBC for information on our UPS series.

## 2.3 KEY FEATURES

All models support IEEE 802.3af and IEEE 802.3at PoE; Models available with 802.3bt HPoE Output

All units can be wall or pole-mounted

UL/ULC listed NEMA 4X-rated enclosures & power supplies

Plug-and-play design

NEMA 4X enclosure with integrated AC to DC power supply

Industrial (extreme temperature hardened) PoE Switch; number of ports, type of network management and output options vary

Wall or pole mount assembly

## 2.4 SOURCE-VERIFIED TECHNICAL REQUIREMENTS

| Requirement | Specified performance |
| --- | --- |
| PWB-S2-G1 | PWB-H2-G1 PWB-S4-G1 PWB-S4-L-G1 |
| PWB-S4-P2 | PWB-M-S4-P2 PWB-H4-P2 PWB-S8 PWB-S8-P2 |
| Power Input - Power | 0.29A max 0.96A max 0.58A max 0.58A max |
| 100~240Vac - 0.58A max | 0.58A max 1.44A max 1.15A 1.15A max max |
| (120Vac)(1) - Power | 0.14A max 0.48A max 0.29A max 0.29A max |
| 100~240Vac - 0.29A max | 0.29A max 0.72A max 0.58A 0.58A max max |
| Rating/listing - Output | 48Vdc 24Vdc 48Vdc 24Vdc |
| UL, ULC - 48Vdc | 54Vdc 48Vdc 48Vdc |
| Rating/listing - Wattage | 100 200 150 200 |
| UL, ULC - 150 | 350 |
| Ports - Data speed | 10/100/1000 Mbps Auto-S |
| Ports - Ethernet | N/A |
| ensing Half & Full Duplex - Web GUI via | N/A |
| Management - Total Ports | 3 3 5 5 |
| address - 6 | 8 10 |
| Management - PoE Ports | 2 0 4 |
| address - 0 | 8 |
| Management - HPoE Ports | 0 2 0 0 0 |
| address - 0 | 4 0 0 |
| Management - SFP Ports | 0 0 0 0 |
| address - 2 | 0 2 0 |
| Management - Non-PoE Ports | 1 |
| Management - PoE Budget | 60 170 120 PWB-S8-M-C2 |
| address - 300 | 240 PWB-H4S4-P2 1.44A max 0.72A max N/A 10 8 4 2 |
| Power Input - Power | 1.15A max |
| (110Vac)(1) - Power | 0.58A max |
| Ports - Data speed | 10/100/1000 Mbps Auto-Sensing |
| Ports - Ethernet | Web GUI via LAN port & IP address |
| Management - Total Ports | 10 |
| Management - PoE Ports | 8 |
| Management - HPoE Ports | 0 |
| Management - SFP Ports | 2 |
| Environmental - Operating | -30° C ~ +7 Temp. |
| Environmental - Storage | -40° C ~ +8 |
| Enclosure - Rating/listing | NEMA 4X-IP65; enclosur |

The installer shall verify the selected part number, accessories and all project-specific operating limits against the current manufacturer data sheet before procurement and installation.

## 2.5 SOURCE VERIFICATION NOTE

The requirements in this document have been prepared from Specsheet-PWB_Series-Rev2511.pdf. Any configurable channel count, optical module, antenna, power supply, plug, mounting option, battery, solar array, accessory or regional variant shall be selected and confirmed separately where the source sheet presents multiple possibilities.

# PART 3 - EXECUTION

## 3.1 EXAMINATION

Confirm that the proposed equipment and selected variant match the approved design, required interfaces and intended operating environment.

Confirm that all input-power, cable, fiber, antenna, network and mounting conditions are within the manufacturer limits.

Confirm that all required accessories, transceivers, power supplies, batteries, antennas, mounting components and interconnection items are available and compatible.

Do not begin installation until conflicts between the design, site conditions and manufacturer requirements have been resolved.

## 3.2 INSTALLATION

Confirm the continuous and peak load, input source, output voltage, required autonomy and environmental conditions.

Verify battery, solar-array, charger, controller, inverter or DC distribution compatibility where applicable.

Provide protective earthing, overcurrent protection, isolation, cable sizing and weatherproof entry arrangements.

Install all equipment, enclosures and mounting assemblies in accordance with manufacturer instructions and approved drawings.

## 3.3 CONFIGURATION AND COMMISSIONING

Verify input, charging, output-voltage and load performance under normal operating conditions.

Verify battery autonomy, solar charging or UPS transfer operation where applicable.

Demonstrate alarm, recovery and protection functions supported by the selected system.

Provide final power calculations, settings, test results and installed model/serial information.