ARCHITECTURAL AND ENGINEERING SPECIFICATION

# Secure Industrial Networking Gateway

Basis of Design: KBC Networks THLK3-HC-HP

| Product family: Industrial encrypted networking and VPN equipment | Document status: Tender / design specification |
| --- | --- |
| Source data: Specsheet-THLK3-HC-HP-Rev2604.pdf | Prepared: 4 August 2026 |

# PART 1 - GENERAL

## 1.1 SUMMARY

Provide, install, configure where applicable, test and commission the secure industrial networking gateway described in this specification, including the required interfaces, power connections, mounting hardware and compatible accessories.

## 1.2 BASIS OF DESIGN

Basis-of-design manufacturer and product: KBC Networks THLK3-HC-HP. Source description: High Capacity/High Capacity Plus Industrial Hardware VPN Gateway for Secure.

Equivalent products may be considered only when they meet or exceed every stated interface, performance, power, environmental and mounting requirement without changing the intended system design.

## 1.3 SUBMITTALS

Manufacturer technical data sheet identifying the exact model and selected hardware variant.

Interface or connection schedule identifying the electrical, optical, wireless, power and network connections.

Power calculation confirming input-supply compatibility and the total connected load where applicable.

Mounting, environmental and configuration details applicable to the proposed installation.

## 1.4 QUALITY ASSURANCE

Installation shall be performed by personnel familiar with industrial IP networking, encrypted overlay networks, cellular communications, antenna installation, cybersecurity configuration and applicable electrical and network practices. Verify all product capability from the current manufacturer data sheet and selected part number.

# PART 2 - PRODUCTS

## 2.1 REQUIRED PRODUCT

The equipment shall be KBC Networks THLK3-HC-HP, or an approved equivalent meeting all requirements below. It shall be supplied as high capacity/high capacity plus industrial hardware vpn gateway for secure.

## 2.2 PRODUCT DESCRIPTION

The KBC ThruLinkTM Series 3rd generation is an industrial-grade hardware VPN gateway engineered to deliver secure, reliable connectivity across public and private IP networks in remote, harsh, and mission-critical environments.

Designed for deployment in non-conditioned locations, ThruLink enables encrypted communication across complex network infrastructures, including those behind firewalls and NAT devices, without requiring network reconfiguration or fixed public IP addresses.

With integrated 4G LTE connectivity and support for dynamic mesh networking, ThruLink ensures resilient, always-on communication for distributed systems and critical infrastructure.

## 2.3 KEY FEATURES

Industrial-grade design for operation in non-conditioned environments

Encrypted communication supporting up to 256bit encryption ciphers

Throughput: High Capacity 100Mbps, High Capacity Plus 200Mbps

Optimized for video transmission and supports all IP traffic

Operates over any public or private IP network, including 4G/LTE

Dynamic mesh networking with no central server requirement

Multiple failover options for network resilience

Simple and rapid deployment with no changes to existing networks

Easy-to-use graphical user interface (GUI)

Integrated diagnostic tools (traffic monitoring, ping function)

IPv4 and IPv6 support

DHCP service on LAN port

## 2.4 SOURCE-VERIFIED TECHNICAL REQUIREMENTS

| Requirement | Specified performance |
| --- | --- |
| Throughput - High Capacity | 100Mbps |
| Environmental - Operating Temperature | -30°~ +75°C/-22° ~ 167°F |
| Throughput - High Capacity Plus | 200Mbps |
| Environmental - Extended Temperature | -40°~ +85°C/-40° ~ 185°F |
| Environmental - Operating Humidity | 0 to 95% non-condensing |
| Throughput - Encryption | AES: 128/192/256bit Blowfish: 128/192/256bit Camellia: 128/192/256bit SHA1, SHA256(1) RSA: 2048 FIPS 140-2(2) |
| Environmental - Mean Time Between Failure (MTBF) | > 100,000 Hours |
| Mechanical - Dimensions (L x W x H) | 106.6mm x 170mm x 64.4mm / 4.20” x 6.69” x 2.54” |
| Connectors - 10/100/1000M Ethernet | 2 x RJ45 |
| Connectors - 4G | 2 x SMA (male) |
| Throughput - Management User Interface | Web GUI |
| Connectors - Power | Terminal block |
| Throughput - Antennas | Please contact KBC Networks for details |
| Power - Input Voltage | 12-54 volts (normal: 24v) |
| Power - Consumption | 5 watts |
| 4G LTE - EMEA/Korea/Thailand | LTE-TDD B38/B40/B41 LTE-FDD B1/B3/B5/B7/ B8/B20 UMTS/HSPA+ B1/B5/B8 GSM/GPRS/EDGE 900/ 1800MHz |
| Power - Australia/N. Zealand/S. America | LTE-TDD B40 LTE-FDD B1/B2/B3/B4/B5/B7/ B8/B28 UMTS/HSPA+ B1/B2/B5/B8 GSM/GPRS/EDGE 850/900/ 1800/1900MHz |
| 4G LTE - EMEA/Korea/Thailand with | LTE-TDD B38/B40/B41/B28 |
| 4G LTE - Band28 | LTE-FDD B1/B3/B5/B7/ B8/B20/B28 UMTS/HSPA+ B1/B5/B8/B28 GSM/GPRS/EDGE 700/900/ 1800MHz |
| Power - Japan | LTE-FDD B1/B3/B8/B18/B19/B26 |
| Power - Global | LTE-TDD B34/B38/B40/B41 LTE-FDD B1/B2/B3/B4/B5/B7/B8/B12/B13 B18/B19/B20/B25/B26/B28/B66 UMTS/HSPA+ B1/B2/B4/B5/B6 B8/B19 GSM/GPRS/EDGE 850/900/1800/1900MHz y with local wireless licensing regulations. to comply with regional frequencies, protocols, power and duplexing. ble in your region, please contact a KBC representative. |
| 4G LTE - North America | LTE-FDD B2/B4/B12 UMTS/HSPA+ B2/B5 |
| 4G LTE - Verizon | LTE-FDD B2/B4/B5/B13 Every region uses different frequencies and duplexing bands that compl This has resulted in a range of KBC ThruLink LTE models that are tuned If you are using any private certified frequencies that are not availa |

The installer shall verify the selected part number, accessories and all project-specific operating limits against the current manufacturer data sheet before procurement and installation.

## 2.5 SOURCE VERIFICATION NOTE

The requirements in this document have been prepared from Specsheet-THLK3-HC-HP-Rev2604.pdf. Any configurable channel count, optical module, antenna, power supply, plug, mounting option, battery, solar array, accessory or regional variant shall be selected and confirmed separately where the source sheet presents multiple possibilities.

# PART 3 - EXECUTION

## 3.1 EXAMINATION

Confirm that the proposed equipment and selected variant match the approved design, required interfaces and intended operating environment.

Confirm that all input-power, cable, fiber, antenna, network and mounting conditions are within the manufacturer limits.

Confirm that all required accessories, transceivers, power supplies, batteries, antennas, mounting components and interconnection items are available and compatible.

Do not begin installation until conflicts between the design, site conditions and manufacturer requirements have been resolved.

## 3.2 INSTALLATION

Confirm WAN transport, cellular bands or wired service, addressing, antenna arrangement and local network requirements.

Provide compatible power, antennas, SIM or network service and surge protection required by the selected configuration.

Install and label the gateway, antennas, power circuits and network interfaces to match the approved design.

Apply access controls and configuration using authorised credentials and approved cybersecurity procedures.

## 3.3 CONFIGURATION AND COMMISSIONING

Verify WAN connectivity, encrypted tunnel operation and communication between all required network endpoints.

Verify route, bridge, addressing, DHCP, Wi-Fi, failover and mesh functions where included in the design.

Record encryption, network and diagnostic settings without exposing confidential credentials.

Provide final configuration backup where supported, test results and installed model/serial information.